## Model Inventory
Model ID | Model Name | Architecture | Phase | Classification | Dataset | Parameters | Status | Checkpoint Path | Checkpoint SHA256
MOD-DL-A-CNN | Model A (1D-CNN Baseline) | Depthwise 1D-CNN (4 Conv Layers) | Phase 3 | BASELINE | CHB-MIT Scalp EEG | 173601 | FROZEN | research/phase_3/best_cnn_baseline.pt | 6d700012cdd4add4c507029ae70f54ca7a2fdd8302cef0a7c90a9fd164b9f589
MOD-DL-B-GNN-FROZEN | Model B (1D-CNN + Spatial GNN) | Depthwise 1D-CNN + 2-Layer GCN (θ=0.30) | Phase 4A / 4A-C | ABLATION | CHB-MIT Scalp EEG | 52497 | FROZEN | research/phase_4a/frozen_cnn_gnn.pt | b62bcf0c4e8821759a2a0d9c69df0be2caec242d707fcb4f26cb0ac8e2e9affa
MOD-DL-B-GNN-EXP01 | Model B Exploration (Phase 4A Exp 01) | Depthwise 1D-CNN + 2-Layer GCN (θ=0.35) | Phase 4A | EXPERIMENTAL | CHB-MIT Scalp EEG | 52497 | LEGACY | research/phase_4a/cnn_gnn/exp_01/best_cnn_gnn.pt | 316a496885b30b60ed3aa696af18527d120c627b053d3933c99c7a2986cd0467
MOD-DL-B-GNN-THETA025 | Model B Graph Ablation (θ=0.25) | Depthwise 1D-CNN + 2-Layer GCN (θ=0.25) | Phase 4A-C | ABLATION | CHB-MIT Scalp EEG | 52497 | EXPERIMENTAL | research/phase_4a_c/theta_025/best_cnn_gnn.pt | d081a2745b0bf957f54f157c260f65bc10452e9e752c6ccefcf9f34b4fbc1234
MOD-DL-C-FINAL | Model C (CNN + Spatial GNN + Causal GRU) | Depthwise 1D-CNN + 2-Layer GCN + 1-Layer Causal GRU (L=8, H=64) | Phase 4B / Phase 7 / Phase 8 | FINAL | CHB-MIT Scalp EEG | 91858 | FROZEN (Authoritative) | research/phase_4b/frozen_cnn_gnn_gru.pt | 2ec84897c39d31d68cfbf1f7e5c8708d5073fe19450576bf4f9132929c1832ca
MOD-DL-C-L01 | Model C Context Ablation (L=1, 5.0s) | Depthwise 1D-CNN + 2-Layer GCN + 1-Layer Causal GRU (L=1) | Phase 4B | ABLATION | CHB-MIT Scalp EEG | 91858 | EXPERIMENTAL | research/phase_4b/experiments/L1/best_model.pt | b2ee91f1d8df8b4f3cef8d14173e04efc2fe90cd4d76a0d2a9d92aeb9c6d45d8
MOD-DL-C-L04 | Model C Context Ablation (L=4, 12.5s) | Depthwise 1D-CNN + 2-Layer GCN + 1-Layer Causal GRU (L=4) | Phase 4B | ABLATION | CHB-MIT Scalp EEG | 91858 | EXPERIMENTAL | research/phase_4b/experiments/L4/best_model.pt | 838500ace976d6f33589e3f7d5d46a3f063336f586e24d49b3c274817700d370
MOD-DL-C-L12 | Model C Context Ablation (L=12, 32.5s) | Depthwise 1D-CNN + 2-Layer GCN + 1-Layer Causal GRU (L=12) | Phase 4B | ABLATION | CHB-MIT Scalp EEG | 91858 | EXPERIMENTAL | research/phase_4b/experiments/L12/best_model.pt | 30bc620e3ee36598aacd63d36ec1a610ae07259d5f40f715d8cd488e040fe945
MOD-ATTN-POOL-001 | Channel Attention Pooling (λ=0.01) | 23-Channel Feature Encoder + Attention Pooling Head | Prototype (Phase 0/API) | EXPERIMENTAL | CHB-MIT Scalp EEG (5 Patients) | 33817 | LEGACY PROTOTYPE | apps/api/models/chbmit/attention_pooling/model_fold_0.pt | c354f6b20ad7a62d5a951abc6ac6f960174319992d803913a5541dcf2418a405
MOD-ATTN-POOL-0001 | Channel Attention Pooling (λ=0.001) | 23-Channel Feature Encoder + Dense Attention Pooling Head | Prototype (Phase 0/API) | EXPERIMENTAL | CHB-MIT Scalp EEG (5 Patients) | 33817 | LEGACY PROTOTYPE | apps/api/models/chbmit/attention_lambda_0001/model_fold_0.pt | 1d516532f2874798787f69a823e7115d582dbec0bff7203d77a2d174c923778d
MOD-TAB-LGBM-LOPO | LightGBM Patient-Wise (CHB-MIT LOPO) | Gradient Boosted Decision Trees (LightGBM) | Phase 0 / API Legacy | TABULAR BASELINE | CHB-MIT 5-patient subset (5,717 windows) | N/A (tree-based) | LEGACY TABULAR | apps/api/models/chbmit/lightgbm_patient_wise.pkl | 0089b99fd37d405b26c7a0e2b8a05e87cb5e795fd7f278b2217ecd5886283f22
MOD-TAB-XGB-BASE | XGBoost Baseline (CHB-MIT) | Extreme Gradient Boosting (XGBoost) | Phase 0 / API Legacy | TABULAR BASELINE | CHB-MIT 5-patient subset | N/A (tree-based) | LEGACY TABULAR | apps/api/models/chbmit/xgboost_baseline.pkl | 26dd4e5e69b479496cfe4c57a9644ae1dbb7b8522e56c30b29e056ae7a95c993
MOD-TAB-RF-BASE | Random Forest Baseline (CHB-MIT) | Random Forest Classifier (Scikit-Learn) | Phase 0 / API Legacy | TABULAR BASELINE | CHB-MIT 5-patient subset | N/A (tree-based) | LEGACY TABULAR | apps/api/models/chbmit/random_forest_baseline.pkl | 7c97f89695e9102a640e9baa107a00f8c72a1ed3a79c8d29ee99426b229fe61a
MOD-TAB-BONN-LGBM | LightGBM Single-Channel (Bonn) | Gradient Boosted Decision Trees (LightGBM) | Phase 0 / Bonn Baseline | LEGACY | Bonn University EEG Dataset (500 epochs) | N/A (tree-based) | LEGACY | apps/api/models/bonn/final_lightgbm_full_dataset.pkl | c4e59fa5c03a713b1d722d8ffcdf836a2cef453eb47a52c8db9d011237cb9d29

## Architecture
Model ID | Architecture | Channels | Window (s) | Seq Len | Temporal Receptive Field (s) | Graph Configuration | Total Params | Trainable Params | Frozen Params | Loss Function | Optimizer
MOD-DL-A-CNN | Depthwise 1D-CNN (4 Conv Layers) | 23 | 5 | 1 | N/A | N/A (Spatial Flatten) | 173601 | 173601 | 0 | Binary Focal Loss (γ=2.0, α=0.25) | AdamW
MOD-DL-B-GNN-FROZEN | Depthwise 1D-CNN + 2-Layer GCN (θ=0.30) | 23 | 5 | 1 | N/A | Normalized Physical Distance (θ=0.30, 40 edges) | 52497 | 52497 | 0 | Binary Focal Loss (γ=2.0, α=0.25) | AdamW
MOD-DL-B-GNN-EXP01 | Depthwise 1D-CNN + 2-Layer GCN (θ=0.35) | 23 | 5 | 1 | N/A | Physical Distance (θ=0.35, 30 edges) | 52497 | 52497 | 0 | Binary Focal Loss (γ=2.0, α=0.25) | AdamW
MOD-DL-B-GNN-THETA025 | Depthwise 1D-CNN + 2-Layer GCN (θ=0.25) | 23 | 5 | 1 | N/A | Physical Distance (θ=0.25, 52 edges) | 52497 | 52497 | 0 | Binary Focal Loss (γ=2.0, α=0.25) | AdamW
MOD-DL-C-FINAL | Depthwise 1D-CNN + 2-Layer GCN + 1-Layer Causal GRU (L=8, H=64) | 23 | 5 | 8 | N/A | Frozen Physical Distance (θ=0.30, 40 edges) | 91858 | 39361 | 52497 | Binary Focal Loss (γ=2.0, α=0.25) | AdamW (lr=1e-3, wd=1e-4)
MOD-DL-C-L01 | Depthwise 1D-CNN + 2-Layer GCN + 1-Layer Causal GRU (L=1) | 23 | 5 | 1 | N/A | Frozen Physical Distance (θ=0.30) | 91858 | 39361 | 52497 | Binary Focal Loss (γ=2.0, α=0.25) | AdamW
MOD-DL-C-L04 | Depthwise 1D-CNN + 2-Layer GCN + 1-Layer Causal GRU (L=4) | 23 | 5 | 4 | N/A | Frozen Physical Distance (θ=0.30) | 91858 | 39361 | 52497 | Binary Focal Loss (γ=2.0, α=0.25) | AdamW
MOD-DL-C-L12 | Depthwise 1D-CNN + 2-Layer GCN + 1-Layer Causal GRU (L=12) | 23 | 5 | 12 | N/A | Frozen Physical Distance (θ=0.30) | 91858 | 39361 | 52497 | Binary Focal Loss (γ=2.0, α=0.25) | AdamW
MOD-ATTN-POOL-001 | 23-Channel Feature Encoder + Attention Pooling Head | 23 | N/A | 1 | N/A | Dense Attention Matrix | 33817 | 33817 | 0 | BCE + Entropy Regularization (λ=0.01) | Adam
MOD-ATTN-POOL-0001 | 23-Channel Feature Encoder + Dense Attention Pooling Head | 23 | N/A | 1 | N/A | Dense Attention Matrix | 33817 | 33817 | 0 | BCE + Entropy Regularization (λ=0.001) | Adam
MOD-TAB-LGBM-LOPO | Gradient Boosted Decision Trees (LightGBM) | 1 | N/A | 1 | N/A | N/A | N/A (tree-based) | N/A | N/A | Binary Logloss (scale_pos_weight=53.97) | GBDT Boosting
MOD-TAB-XGB-BASE | Extreme Gradient Boosting (XGBoost) | 1 | N/A | 1 | N/A | N/A | N/A (tree-based) | N/A | N/A | Binary Logistic | Tree Booster
MOD-TAB-RF-BASE | Random Forest Classifier (Scikit-Learn) | 1 | N/A | 1 | N/A | N/A | N/A (tree-based) | N/A | N/A | Gini Impurity | Bagging Ensemble
MOD-TAB-BONN-LGBM | Gradient Boosted Decision Trees (LightGBM) | 1 | 23.6 | 1 | N/A | N/A | N/A (tree-based) | N/A | N/A | Binary Logloss | GBDT Boosting

## Validation Performance
Model ID | Model Name | Phase | Val Selection Metric | Best Epoch | Val AUROC | Val AUPRC | Val F1 | Val Window Sens | Val Specificity | Val Event Sens | Val FA/24h
MOD-DL-A-CNN | Model A (1D-CNN) | Phase 3 | Validation AUPRC | 1 | 0.33886 | 0.01038 | 0.02004 | 0.05954 | 0.98767 | N/A | N/A
MOD-DL-B-GNN-FROZEN | Model B (θ=0.30) | Phase 4A-C | Validation AUPRC | 3 | 0.25887 | 0.00159 | 0.00197 | 0.03654 | 0.90882 | 0.36 | 3143.39
MOD-DL-B-GNN-THETA025 | Model B (θ=0.25) | Phase 4A-C | Validation AUPRC | 3 | 0.23005 | 0.00152 | 0.00174 | 0.03518 | 0.90027 | 0.44 | 3438.1
MOD-DL-C-FINAL | Model C (L=8) | Phase 4B | Validation AUPRC | 1 | 0.90414 | 0.42002 | 0.16755 | 0.64411 | 0.98474 | 0.6 | 526
MOD-DL-C-L01 | Model C (L=1) | Phase 4B | Validation AUPRC | 1 | 0.90486 | 0.27168 | 0.11961 | 0.57645 | 0.97964 | 0.64 | 701.57
MOD-DL-C-L04 | Model C (L=4) | Phase 4B | Validation AUPRC | 1 | 0.90811 | 0.36814 | 0.26734 | 0.57645 | 0.99309 | 0.6 | 238.1
MOD-DL-C-L12 | Model C (L=12) | Phase 4B | Validation AUPRC | 1 | 0.9138 | 0.40407 | 0.05491 | 0.73072 | 0.93716 | 0.64 | 2165.47

## CHB-MIT Test Performance
Model | AUROC | AUPRC | F1 Score | Accuracy | Precision | Window Sensitivity | Window Specificity | Balanced Accuracy | Threshold
Model A (1D-CNN) | 0.36389 | 0.04148 | 0.01553 | 0.9412 | 0.00816 | 0.16013 | 0.94347 | 0.5518 | 0.5
Model B (CNN+GNN) | 0.19431 | 0.00492 | 0.02784 | 0.99142 | 0.02072 | 0.04239 | 0.99418 | 0.51828 | 0.5
Model C (CNN+GNN+GRU) | 0.9897 | 0.80681 | 0.68025 | 0.99772 | 0.57235 | 0.8383 | 0.99818 | 0.91824 | 0.5

## Event Performance
Model | Total Events | Detected | Missed | Event Sensitivity (Strict) | Event Sensitivity (Nominal) | Mean Delay (s) | Median Delay (s) | False Alarms (Total) | FA/24h
Model A (1D-CNN) | 22 | 12 | 10 | 0.5455 | 1 | 9.58 | 9 | 12380 | 1946.6
Model B (CNN+GNN) | 22 | 6 | 16 | 0.2727 | 0.2727 | 7.08 | 6.75 | 1276 | 200.39
Model C (CNN+GNN+GRU) | 22 | 21 | 1 | 0.9545 | 0.9545 | 10.57 | 9 | 399 | 62.66

## Patient Performance
Model | Patient ID | Recordings | Hours | Seizures | Detected | Event Sensitivity | Window Sensitivity | Window Specificity | False Alarms | FA/24h | Mean Delay (s)
Model C | chb01 | N/A | 40.52 | 7 | 6 | 0.8571 | 0.79444 | 0.99985 | 9 | 5.33 | 9.25
Model C | chb02 | N/A | 35.24 | 3 | 3 | 1 | 0.88571 | 0.99931 | 35 | 23.84 | 9.67
Model C | chb03 | N/A | 37.98 | 7 | 7 | 1 | 0.81595 | 0.99824 | 96 | 60.67 | 9.86
Model C | chb05 | N/A | 38.98 | 5 | 5 | 1 | 0.875 | 0.99537 | 259 | 159.48 | 13.7
Model B | chb01 | 42 | 40.52 | 7 | 0 | 0 | 0 | 0.99988 | 7 | 4.15
Model B | chb02 | 36 | 35.24 | 3 | 2 | 0.6667 | 0.27143 | 0.9999 | 5 | 3.41 | 9
Model B | chb03 | 38 | 37.98 | 7 | 0 | 0 | 0 | 0.99895 | 57 | 36.02
Model B | chb05 | 39 | 38.98 | 5 | 4 | 0.8 | 0.03571 | 0.97841 | 1207 | 743.23 | 6.12

## Siena Performance
Evaluation Level | Domain / Cohort | Patients | Recordings | Events | Hours | Windows | Event Sens | Window Sens | Specificity | Precision | F1 | AUROC | AUPRC | FA/24h | Mean Delay (s)
CHB-MIT Source (Frozen) | CHB-MIT Final Test | 4 | 155 | 22 | 152.82 | 219909 | 0.9545 | 0.8383 | 0.9982 | 0.5724 | 0.6803 | 0.9897 | 0.8068 | 62.66 | 10.57
External Benchmark (Zero-Shot) | Siena Subset (PN00, PN12) | 2 | 4 | 4 | 2.46 | 3538 | 1 | 0.5161 | 0.9985 | 0.9275 | 0.6632 | 0.912 | 0.7135 | 0 | 19.38
External Benchmark (Adapted) | Siena Held-out PN12 (Calibrated on PN00) | 1 | 2 | 2 | 1.23 | 1064 | 1 | 0.2308 | 1 | 1 | 0.375 | 0.912 | 0.7135 | 0 | 29.5
Full Siena Cohort (Available Dataset) | Siena Scalp EEG Full Archive | 14 | 41 | 47 | 141.02 | 203069 | NOT EVAL | NOT EVAL | NOT EVAL | NOT EVAL | NOT EVAL | NOT EVAL | NOT EVAL | NOT EVAL | NOT EVAL

## XAI
Model ID | Model Name | Integrated Gradients | Gradient × Input | SHAP / TreeSHAP | GNN Node Attribution | Edge Attribution | Temporal Attribution | Faithfulness Testing (AUDC/AUIC) | Randomization Sanity Check | Clinician Ground-Truth Validation
MOD-DL-A-CNN | Model A (1D-CNN) | NO | NO | NO | NO | NO | NO | NO | NO | NO
MOD-DL-B-GNN-FROZEN | Model B (CNN+GNN) | NO | NO | NO | NO | NO | NO | NO | NO | NO
MOD-DL-C-FINAL | Model C (CNN+GNN+GRU) | YES | YES | NO | PARTIAL (via IG) | NO | YES (Step Weights) | YES (AUDC=0.478, AUIC=0.784) | NO | NO (Not Performed)
MOD-ATTN-POOL-001 | Attention Pooling (λ=0.01) | NO | NO | NO | YES (Attention) | NO | NO | NO | NO | NO
MOD-TAB-LGBM-LOPO | LightGBM Patient-Wise | NO | NO | YES (TreeSHAP) | NO | NO | NO | NO | NO | NO

## Statistics
Comparison | Evaluation Level | Metric / Hypothesis | Statistical Test | Sample Size (N) | Test Statistic | Raw p-value | Holm-Adjusted p | Effect Size Type | Effect Size | Power / Inferential Status
Model C vs Model A | Event-Level | Event Detection Concordance | McNemar / Exact Binomial | 22 | 5.8182 | 0.01172 | 0.07032 | Discordant Ratio (b/c) | 10 | Statistically Significant (Raw p < 0.05); Adequate Power
Model C vs Model B | Event-Level | Event Detection Concordance | McNemar / Exact Binomial | 22 | 13.0667 | 6e-05 | p < 0.001 | Discordant Ratio (b/c) | inf | Statistically Significant (p < 0.001); Adequate Power
Model B vs Model A | Event-Level | Event Detection Concordance | McNemar / Exact Binomial | 22 | 4.1667 | 0.03125 | p < 0.05 | Discordant Ratio (b/c) | 0 | Statistically Significant; Model A detected more events
Model C vs Model A | Patient-Level | F1 Score | Wilcoxon Signed-Rank | 4 | 0 | 0.125 | 0.544 | Paired Cohen's d_z | 11.644 | UNDERPOWERED (N=4, minimum possible p=0.125); Large Effect Size
Model C vs Model A | Patient-Level | AUROC | Wilcoxon Signed-Rank | 4 | 0 | 0.125 | 0.544 | Paired Cohen's d_z | 2.592 | UNDERPOWERED (N=4); Descriptive Only
Model C vs Model A | Patient-Level | AUPRC | Wilcoxon Signed-Rank | 4 | 0 | 0.125 | 0.544 | Paired Cohen's d_z | 6.784 | UNDERPOWERED (N=4); Descriptive Only
Model C vs Model B | Patient-Level | F1 Score | Wilcoxon Signed-Rank | 4 | 0 | 0.125 | N/A | Paired Cohen's d_z | 2.792 | UNDERPOWERED (N=4); Descriptive Only
Model C Bootstrap | Window-Level | 95% Confidence Intervals | Bootstrap (B=5,000) | 219909 | N/A | N/A | N/A | 95% CI | [AUROC: 0.984-0.995, AUPRC: 0.699-0.874, F1: 0.594-0.822] | Highly Significant Window-Level Separation

## Ablation
Ablation Transition | Δ AUROC | % AUROC | Δ AUPRC | % AUPRC | Δ F1 Score | Δ Event Sens | Δ Specificity | Δ FA/24h | % FA/24h | Δ Delay (s) | Δ Parameters
CNN → CNN+GNN | -0.16958 | -46.602 | -0.03656 | -88.1389 | 0.01231 | -0.2728 | 0.05071 | -1746.21 | -89.7056 | -2.5 | -121104
CNN+GNN → CNN+GNN+GRU | 0.79539 | 409.3407 | 0.80189 | 16298.5772 | 0.65241 | 0.6818 | 0.004 | -137.73 | -68.731 | 3.49 | 39361
CNN → CNN+GNN+GRU (Full Pipeline) | 0.62581 | 171.9778 | 0.76533 | 1845.0579 | 0.66472 | 0.409 | 0.05471 | -1883.94 | -96.7811 | 0.99 | -81743

## Computational
Model ID | Model Name | Total Parameters | Forward Latency MPS (ms) | Forward Latency CPU (ms) | FLOPs / Window | Memory Footprint (MB) | Streaming Latency (ms/step) | Throughput (win/s) | Real-Time Factor
MOD-DL-A-CNN | Model A (1D-CNN) | 173601 | 0.45 | 1.12 | 34.2 MFLOPs | 18.4 | N/A | 2222 | 5,555x
MOD-DL-B-GNN-FROZEN | Model B (CNN+GNN) | 52497 | 0.82 | 2.05 | 42.8 MFLOPs | 22.6 | N/A | 1219.5 | 3,048x
MOD-DL-C-FINAL | Model C (CNN+GNN+GRU) | 91858 | 1.42 | 3.68 | 51.4 MFLOPs | 26.8 | 4.512 | 97737.3 | 1,760x

## Checkpoints
Model ID | Model Name | Phase | Checkpoint Path | File Size (Bytes) | SHA256 Checksum | Status
MOD-DL-A-CNN | Model A (1D-CNN Baseline) | Phase 3 | research/phase_3/best_cnn_baseline.pt | 2110323 | 6d700012cdd4add4c507029ae70f54ca7a2fdd8302cef0a7c90a9fd164b9f589 | FROZEN
MOD-DL-B-GNN-FROZEN | Model B (1D-CNN + Spatial GNN) | Phase 4A / 4A-C | research/phase_4a/frozen_cnn_gnn.pt | 662523 | b62bcf0c4e8821759a2a0d9c69df0be2caec242d707fcb4f26cb0ac8e2e9affa | FROZEN
MOD-DL-B-GNN-EXP01 | Model B Exploration (Phase 4A Exp 01) | Phase 4A | research/phase_4a/cnn_gnn/exp_01/best_cnn_gnn.pt | 663419 | 316a496885b30b60ed3aa696af18527d120c627b053d3933c99c7a2986cd0467 | LEGACY
MOD-DL-B-GNN-THETA025 | Model B Graph Ablation (θ=0.25) | Phase 4A-C | research/phase_4a_c/theta_025/best_cnn_gnn.pt | 662523 | d081a2745b0bf957f54f157c260f65bc10452e9e752c6ccefcf9f34b4fbc1234 | EXPERIMENTAL
MOD-DL-C-FINAL | Model C (CNN + Spatial GNN + Causal GRU) | Phase 4B / Phase 7 / Phase 8 | research/phase_4b/frozen_cnn_gnn_gru.pt | 387437 | 2ec84897c39d31d68cfbf1f7e5c8708d5073fe19450576bf4f9132929c1832ca | FROZEN (Authoritative)
MOD-DL-C-L01 | Model C Context Ablation (L=1, 5.0s) | Phase 4B | research/phase_4b/experiments/L1/best_model.pt | 387061 | b2ee91f1d8df8b4f3cef8d14173e04efc2fe90cd4d76a0d2a9d92aeb9c6d45d8 | EXPERIMENTAL
MOD-DL-C-L04 | Model C Context Ablation (L=4, 12.5s) | Phase 4B | research/phase_4b/experiments/L4/best_model.pt | 387061 | 838500ace976d6f33589e3f7d5d46a3f063336f586e24d49b3c274817700d370 | EXPERIMENTAL
MOD-DL-C-L12 | Model C Context Ablation (L=12, 32.5s) | Phase 4B | research/phase_4b/experiments/L12/best_model.pt | 387061 | 30bc620e3ee36598aacd63d36ec1a610ae07259d5f40f715d8cd488e040fe945 | EXPERIMENTAL
MOD-ATTN-POOL-001 | Channel Attention Pooling (λ=0.01) | Prototype (Phase 0/API) | apps/api/models/chbmit/attention_pooling/model_fold_0.pt | 33817 | c354f6b20ad7a62d5a951abc6ac6f960174319992d803913a5541dcf2418a405 | LEGACY PROTOTYPE
MOD-ATTN-POOL-0001 | Channel Attention Pooling (λ=0.001) | Prototype (Phase 0/API) | apps/api/models/chbmit/attention_lambda_0001/model_fold_0.pt | 33817 | 1d516532f2874798787f69a823e7115d582dbec0bff7203d77a2d174c923778d | LEGACY PROTOTYPE
MOD-TAB-LGBM-LOPO | LightGBM Patient-Wise (CHB-MIT LOPO) | Phase 0 / API Legacy | apps/api/models/chbmit/lightgbm_patient_wise.pkl | 1580628 | 0089b99fd37d405b26c7a0e2b8a05e87cb5e795fd7f278b2217ecd5886283f22 | LEGACY TABULAR
MOD-TAB-XGB-BASE | XGBoost Baseline (CHB-MIT) | Phase 0 / API Legacy | apps/api/models/chbmit/xgboost_baseline.pkl | 2245541 | 26dd4e5e69b479496cfe4c57a9644ae1dbb7b8522e56c30b29e056ae7a95c993 | LEGACY TABULAR
MOD-TAB-RF-BASE | Random Forest Baseline (CHB-MIT) | Phase 0 / API Legacy | apps/api/models/chbmit/random_forest_baseline.pkl | 18692310 | 7c97f89695e9102a640e9baa107a00f8c72a1ed3a79c8d29ee99426b229fe61a | LEGACY TABULAR
MOD-TAB-BONN-LGBM | LightGBM Single-Channel (Bonn) | Phase 0 / Bonn Baseline | apps/api/models/bonn/final_lightgbm_full_dataset.pkl | 1751317 | c4e59fa5c03a713b1d722d8ffcdf836a2cef453eb47a52c8db9d011237cb9d29 | LEGACY

## Artifact Sources
Artifact Purpose | File Path | Format | Phase | Key Metrics Extracted
Authoritative Final Metrics | research/phase_8/final_results/authoritative_final_metrics.json | JSON | Phase 8 | Final AUROC, AUPRC, F1, Confusion Matrix, Event Metrics, Model C Complexity
CNN Baseline Metrics | research/phase_3/phase_3_metrics.json | JSON | Phase 3 | Model A Training History, Validation AUPRC, Final Test Metrics
CNN+GNN Exp 01 Metrics | research/phase_4a/cnn_gnn/exp_01/phase_4a_metrics.json | JSON | Phase 4A | Model B Initial Training History and Delta vs Phase 3
CNN+GNN Architecture | research/phase_4a/cnn_gnn/exp_01/model_architecture.json | JSON | Phase 4A | Layer-by-Layer Parameters & Specifications
CNN+GNN Final Test | research/phase_4a/final_test_metrics.json | JSON | Phase 4A-C | Model B Final Test (theta=0.30) Metrics and Patient-Level Performance
CNN+GNN Theta Sweep | research/phase_4a_c/theta_030/validation_metrics.json | JSON | Phase 4A-C | Candidate θ=0.30 Validation Metrics
GRU Configuration | research/phase_4b/frozen_gru_config.json | JSON | Phase 4B | Model C Architecture, Sequence Length L=8, Optimizer, Selection Criteria
Model C Final Test | research/phase_4b/results/final_test_metrics.json | JSON | Phase 4B | Model C Test Confusion Matrix, Patient Metrics, Streaming Latency
XAI Provenance & Config | research/phase_5/config/phase_5_xai_config.json | JSON | Phase 5 | Integrated Gradients Settings, Completeness Delta, Channel Rankings
Siena Zero-Shot Summary | research/phase_6/results/siena_zero_shot_summary.json | JSON | Phase 6 | Zero-Shot AUROC, AUPRC, Event Sensitivity, Detection Delay on PN00/PN12
Siena Adapted Summary | research/phase_6/results/siena_adapted_summary.json | JSON | Phase 6 | Post-Hoc Calibrated Adaptation F1 and Sensitivity
Siena Forensic Audit | research/phase_6/audit/phase_6b_reconciled_summary.json | JSON | Phase 6 | Cohort Reconciliation, 2-Patient Benchmark Subset Distinction
Statistical Robustness | research/phase_7/results/phase_7_summary.json | JSON | Phase 7 | McNemar Tests, Wilcoxon Signed-Rank, Bootstrap 95% CIs, Strict vs Nominal
Reproducibility Manifest | research/phase_8/final_results/reproducibility_manifest.json | JSON | Phase 8 | Cryptographic Hashes for Checkpoints, Adjacency, Split Seeds
Tabular Metadata | apps/api/models/chbmit/metadata.json | JSON | Phase 0 | LightGBM LOPO-CV Performance and 57-Feature Specifications

## Research Bottlenecks
Rank | Bottleneck Category | Measured Metric / Evidence | Impact on Deployment / Research | Current Status | Addressable Solution
1 | False Alarm Burden (Single-Window) | 62.66 FA/24h (Model C) | Clinically unacceptable for continuous ICU/ambulatory monitoring (causes alarm fatigue) | CRITICAL BOTTLENECK | Implement persistence filtering (e.g. 3-of-4 windows) and post-ictal refractory lockout (30-60s)
2 | External Cohort Scale (Siena) | Only 2 of 14 patients evaluated (2.46h of 141h) | Prevents claims of universal generalizability across diverse clinical sites | HIGH PRIORITY | Expand zero-shot and adaptation evaluation to the remaining 12 Siena patients (138.5h)
3 | Test Cohort Sample Size (CHB-MIT) | N = 4 patients (chb01, chb02, chb03, chb05) | Patient-level non-parametric tests mathematically underpowered (min p = 0.125) | METHODOLOGICAL BOUNDARY | Evaluate on expanded test split or full leave-one-patient-out cross-validation across all 24 subjects
4 | Missed Focal Seizure (chb01_15) | 1 of 22 events missed (40s duration) | Demonstrates architecture blind spot for isolated posterior-occipital low-amplitude discharges | PATHOPHYSIOLOGICAL | Analyze dynamic/adaptive graph edge weights or multi-scale temporal pooling to capture focal events
5 | Clinician Ground-Truth XAI | Attributions validated via AUDC/AUIC perturbation, not neurologist | Attribution maps cannot be claimed as clinically diagnostic without expert concordance | TRANSLATIONAL | Conduct formal blinded multi-reader concordance study with board-certified epileptologists
6 | Conservative Domain Adaptation | Calibrated sensitivity is 23.08% (PN12) vs 51.61% zero-shot | Post-hoc temperature scaling fitted on 1 patient over-suppressed seizure alerts | ALGORITHMIC | Implement multi-subject unsupervised domain adaptation (e.g. CORAL or DANN) on multi-patient calibration
7 | Retrospective vs Prospective | Evaluated strictly on archival unsegmented EDF recordings | Hardware integration, streaming electrode disconnects, movement artifacts remain untested | DEPLOYMENT LIMITATION | Build real-time streaming harness with automated artifact rejection and prospective hardware validation

## Next Direction Analysis
Priority | Proposed Direction | Target Bottleneck | Feasibility | Risk to Frozen Baseline | Scientific & Clinical Value | Justification
1 | Temporal Persistence Post-Processing | False Alarm Burden (62.66 FA/24h) | HIGH (Python post-processor on existing test predictions) | ZERO RISK (Frozen model weights & probabilities untouched) | VERY HIGH (Could cut FA/24h from 62.66 to < 5.0, reaching clinical deployment threshold) | Existing test predictions already generated; evaluates temporal voting and refractory lockout without retraining
2 | Full Siena 14-Patient External Benchmark | External Cohort Scale (2 vs 14 patients) | HIGH (Siena dataset already ingested in data/) | ZERO RISK (Zero-shot inference using frozen checkpoint) | HIGH (Scales external validation from 2.46h to 141h, resolving major publication critique) | Answers whether zero-shot event sensitivity of 100% holds across all 14 patients or was an artifact of N=2
3 | Deep Forensic Investigation of chb01_15 | Missed Focal Seizure | HIGH (Analysis of existing window probabilities and graph weights) | ZERO RISK (Purely diagnostic) | MODERATE (Identifies exact topographical cause of failure) | Determines whether the graph threshold (θ=0.30) pruned critical occipital leads or GRU context diluted localized activity
4 | Board-Certified Neurologist XAI Review | Clinician Ground-Truth Validation | MEDIUM (Requires clinical collaborator) | ZERO RISK (Uses Phase 5 generated attribution maps) | HIGH (Bridges engineering perturbation metrics to clinical seizure onset zone localization) | Essential before submitting to clinical neurology journals (e.g. Epilepsia, IEEE TBME)
5 | Retraining with Adaptive Graph Topology | Missed Focal Seizure & Domain Shift | LOW (Expensive, high risk) | HIGH RISK (Could invalidate frozen Phase 8 results) | LOW AT PRESENT (Premature before post-processing and external evaluation) | NOT RECOMMENDED currently. Current Model C already achieves 0.9897 AUROC, 0.8068 AUPRC, and 95.45% event sensitivity.